| MODEL | SP-10048 | SP-100512 | Configurable |
| --- | --- | --- | --- |
| - MAIN INFO |  |  |  |
| Rated Voltage | 48V | 51.2V |  |
| Rated Capacity | 100Ah |  |  |
| Battery Power | 4.8kWh | 5.12kWh |  |
| Battery Type | LFP |  |  |
| Cycling Lifespan | >6000 Cycles |  |  |
| Max.Parallel Capacity | 15 units |  | √ |

| - CHARGE&DISCHARGE |  |  |  |
| --- | --- | --- | --- |
| Max.Charging Voltage | 54V | 57.6V | √ |
| Dischare Cut-off Voltage | 40.5V | 44.8V | √ |
| Max.Charging Current | 105 |  | √ |
| Peak Charging Current | 110(1S) |  | √ |
| Max.Discharging Current | 105 |  | √ |
| Peak Discharging Current | 110(1S) |  | √ |
| - GENERAL |  |  |  |
| Net Weight | 44KG | 47KG |  |
| Gross Weight | 53KG | 56KG |  |
| Product Size(L×W×H) | 550×460×230MM |  |  |
| Package Size(L×W×H) | 600×500×250MM |  |  |
| Communication | RS485/RS232/CAN/Wifi/Bluetooth |  | √ |
| Storage Condition | 6months@25℃ 3months@35℃ 1months@45℃ |  |  |
| Charging Temp.Range | 0℃ to 65℃（32°F to 149°F) |  |  |
| Discharging Temp.Range | -10℃ to 65℃（314°F to 149°F) |  |  |
| Cooling Method | Passive Cooling |  |  |
| - STANDARD |  |  |  |
| Transportation | UN38.3/MSDS/TDG |  |  |

Wall-Mounted Energy

Storage Lithium

Battery

Solara  Power

Use "core" to specialize "core".